SECTION 11 68 00

PLAYGROUND EQUIPMENT

GENERAL

SUMMARY

Section includes freestanding playground equipment and all necessary support members, hardware and connectors as shown on the Drawings and specified herein.

REFERENCES

ASTM F1487:  Standard Consumer Safety Performance Specification for Playground Equipment for Public Use, latest edition.

U.S. Consumer Product Safety Commission (‘CPSC publication #325’): Public Playground Safety Handbook, latest edition.

ASTM F1292, Standard Specification for Impact Attenuation of Surfacing Materials Within the Use Zone of Playground Equipment, current version.

ASTM F1951: Standard Specification for Determination of Accessibility of Surface Systems Under and Around Playground Equipment, latest edition.

ASTM F2373: Standard Consumer Safety Performance Specification for Public Use Play Equipment for Children 6 Months Through 23 Months, latest edition.

International Play Equipment Manufacturers Association (‘IPEMA’) Certification Service.

Department of Justice 2010 ADA Standards for Accessible Design (‘2010 ADA’).

QUALITY ASSURANCE

Manufacturer Qualifications:

Firm whose playground equipment components have been certified by IPEMA's third-party product certification service.

Provide playground equipment and play structure components bearing the IPEMA Certification Seal.

ISO 9001 and ISO 14001 certified.

Cradle to Cradle certified.

Installer Qualifications:  Engage an experienced installer who is approved by manufacturer for both installation and service of the type of equipment required for this Project.

All crew leaders shall be Certified Playground Safety Inspectors.

Safety Standards:  Provide playground equipment complying with or exceeding requirements in ASTM F 1487 and CPSC No. 325.

Pre-installation Conference:  Conduct conference at Project site.

SUBMITTALS

Submit the following in accordance with Section 01 33 00:

Product Data:  For each type of playground equipment indicated, including installation instructions, maintenance guidelines and inspection checklists.

Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Coordination Drawings:  Plans, drawn to scale, on which the following items are shown and coordinated with each other, using input from installers of the items involved:

Extent of surface systems and use zones for equipment.

Critical heights for playground surfaces and fall heights for equipment.

Samples for Color Selection:  For each type of playground equipment indicated.

Manufacturer's color charts.

Include similar samples of playground equipment and accessories involving color selection.

Product Certificates:  For each type of playground equipment, from manufacturer.

Material Certificates:  For the following items:

Shop finishes.

Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each type of playground equipment.

Field quality-control reports.

Qualification Data:  For qualified installer and manufacturer.

Maintenance Data:  For playground equipment and finishes to include in maintenance manuals.

Maintenance Kit:  At completion of installation, submit maintenance kit that will include all installation and maintenance information for the playground equipment installed.

Warranty:  3 signed copies of special warranty.

WARRANTY

Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of playground equipment that fail in materials or workmanship within specified warranty period. including shipping of replacement components to the project site.

Failures include, but are not limited to, the following:

Structural failures.

Deterioration of metals, metal finishes, and other materials beyond normal weathering.

Warranty Period from date of Substantial Completion:

Posts, clamps and hardware:  Lifetime.

Decks, stairs and plastic components:  Fifteen (15) years.

Metal Components:  Ten (10) years.

PRODUCTS

MATERIALS

Steel Tubing:  ASTM A 500, Grade B or ASTM A 513, cold rolled, electric resistance welded tubing, triple coated with hot-dipped zinc galvanized coating, chromate conversion coating and clear polymeric coating.

Tensile Strength:  Minimum 55,000 psi.

Yield Strength:  Minimum 50,000 psi.

Modulus of Elasticity: 25 x 106 psi.

Tension Testing:  ASTM E 8.

Elongation:  25 percent in 2 inches.

Exterior Coating:  Galvanized coating weight shall be within the range of 0.4 oz/sq ft and 0.6 oz/sq ft.

Interior Coating:  Corrosion resistant, zinc-rich organic coating.

Finish:  Superdurable Polyester Powder Coat.

Decks:  Deck surface and sides shall be of modular design and die formed from a single sheet of 12 gauge hot rolled, pickled and oiled flat steel conforming to ASTM A 569.  Deck surface shall have perforated holes.  Decks shall have slots along each face to accommodate face mounting of components.

The flange formed decks shall also incorporate the use of under deck support struts to insure structural integrity.

Entire deck weldment shall have a protective coating of Eco-Armor polyethylene.

Rotational Molded Polyethylene:  Fabricated from color-compounded, linear low density, polyethylene with anti-static additives and machined to size.

Cross-Section:  1/4 inch (6 mm ) nominal thickness, double wall construction.

Ultraviolet (UV) stabilized:  UV-8.

UV Exposure:  SAE 1960-89, QUV 500 hrs, Delta E less than 2.

Melt Index:  ASTM D 1238, 5.0 – 6.89/10 min 3.

Material Density:  ASTM D 1505:  Between 932 g/cc and 936 g/cc.

Tensile Strength:  ASTM D 638:  Between 2,200 psi and 2,500 psi at yield.

Flexural Modulus:  ASTM D 790:  Between 73,000 psi and 87,200 psi at 1 percent secant.

Horizontal Burn Test:  UL 94 HB.

Arm Test for Impact Strength:  100 ft/lb at minus 40 degrees C and 1/4 inch thickness.

Colors:  As selected by Architect from manufacturer's standard colors.

Compression Molded Polyethylene:  Fabricated from colored marine grade, 0.75 inch high density polyethylene and machined to size.

Ultraviolet (UV) stabilized.

Material Density:  ASTM D 1505:  Minimum 960 g/cc.

Tensile Strength:  ASTM D 638: Minimum 2,400 psi.

Colors:  As selected by Architect from manufacturer's standard colors.

Shade:

Wind Loads:  Shade Hats shall be designed to resist wind speeds up to 90-105 mph.

Fabric:  Woven of high density polyethylene monofilament 500 denier yarn, annealed at 176 degrees F.  Ultra Violet Stabilizers Tinuvin 783 & Irganox B215.

Weight:  11 ounces per sq yd.

Break Strength:  ASTM D 5034, warp at 309 lbs and weft at 352 lbs.

Burst Strength:  ASTM D 3787, 490 lbs.

Elongation Compensation:  ASTM D1682, warp at 4 percent and weft at 6 percent

Tear Strength:  ASTM D2261, warp at 57 lbs and weft at 82 lbs.

Hydraulic Burst:  ASTM D 3786, 564 psi.

Ultraviolet Stability:  10 years.

Shade Effect:  AS 4174.

Angle of Incidence:  Between 92 percent to 94 percent.

Ultraviolet Block Angle of Incidence:  Between 90 percent to 92 percent.

Tensioner Assembly:  Screw type lifting device, factory assembled.  Fabricated from steel tubing with an internal threaded core.  Internal bushings formed from Ultra High Modulus Polyethylene.  Mounting plate welded to lifting assembly.  Assembly finished with Superdurable baked-on polyester powder coating.

Fasteners:  18-8 grade stainless steel (300 series), unless otherwise indicated, with capped lock nuts to cover bolts.  Tamper-resistant on principle clamping mechanisms.

Nylon thread-locking patch and liquid thread-lock applied to certain hardware as directed by manufacturer.

Post Caps and Cast Aluminum Clamps:  ASTM B 26 and FS QQ-A-601, cast of high strength Almag 35 (535.0-F) or A319.0 aluminum alloy.

Ultimate Tensile Strength:  Between 18 ksi and 35 ksi.

Yield Strength:  Between 13 ksi and 23 ksi.

Finish:  420 micro finish and a Superdurable Polyester Powder coat.

Drive Rivets:  Fabricated of 2117 aluminum alloy with pin fabricated of 7075 aluminum alloy.

Plastic post caps and plastic rivets are not permitted.

Factory fastened to the end of the tubing with drive rivets.

Clamps:  ASTM B 85, high strength A413.0 aluminum alloy.  Ultimate tensile strength shall be 43 ksi.  Hinged assemblies.

Finish:  Shot blast cleaned, primed with a cathodic epoxy coating conforming to MIL-P-53084, and Superdurable baked-on polyester powder coating.

Belts:   	Fabricated from styrene butadiene rubber with 2 piles of polyester reinforcement.

Thickness: Minimum 0.38inch.

Tension: Maximum 220 pounds per square inch or higher.

Playground Signage:

Panel in manufactured out of fiberglass-reinforced plastic or equivalent with a non-yellowing, R-70 clear resin (or UV stabilized, acrylic-modified polyester resin) reinforced with high solubility, chopped strand fiberglass mat so that the index of refraction ensures total clarity of color, copy and graphics.

Glass fibers will not be readily discernible on face.

Material will have a glass content of no less than 28% of the total weight.

Material will have an ambient temperature range of -65 to 350 degrees F.

Material will have a min barcol hardness of 50

Tensile Strength: Minimum 12,000 psi

Compressive Strength: Minimum 20,000 psi

Flexural Strength: Minimum 18,000 psi

Impact Resistance: Minimum 6 foot pounds

Fire Resistance: Minimum 500 degrees F.

Ropes: 	Fabricated from six-stranded and tempered cable with a polypropylene core.  The galvanized wire cores of the six strands are inductively fused to polyamide coating.

Tools:  Provide special tools with equipment for assembly and maintenance.

Mobile Device Access Point:  All playground equipment to have a PlayPod mobile device access point attached in a highly visible location.  Access point to be made of a cast aluminum casing covered by a fiberglass reinforced plastic panel.  Access point to have an electronic tag that permits users of smart phones to access playground equipment’s maintenance documents, part numbers, customer service direct links, and phone numbers, .  Members of the community shall be able to view weekly play tips, can email accessible documents, and email or call the manufacturer.

FABRICATION

Assembled Steel Components:

All edges on flat plates shall be rounded by a 360 degree tumbling process.

Weld areas and flat plates shall be coated with a specially formulated epoxy/polyester primer to encapsulate the weld area.

Fastening System:

Fastening system shall utilize clamps.

Permanently attach clamps to the support post with a drive rivet to eliminate disassembly and slippage.

PLAYGROUND EQUIPMENT AND STRUCTURES

Composite Structure 350-1623:  Assembled from manufacturer's standard modular-sized units.

Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

Playworld

Or other as approved by Architect.

Frame:  Galvanized steel  pipe or tubing frame sections connected with clamps.

Main Trunk Posts:  Not less than 5in OD.

Platform Supports: Not less than 3-1/2in OD.

Color: As indicated by manufacturer’s designations.

Platforms: Perforated Sheet Steel Weldment

Color: As indicated by manufacturer’s designations.

Shade Sail:  Woven of high density polyethylene monofilament 500 denier yarn

Color:  As indicated by manufacturer's designations

Play Structure Access Component(s):  Transfer Access Platform

Handholds:  Handholds, guardrails and protective barriers shall be provided to aid and assist in transfer as well as transiting the length of the Transfer Access Platform.

Equipment:  Include the following play event components:

Access component to facilitate transfer from mobile device

Slide, Rotationally Molded Sectional, 48in platform

Slide, Rotationally Molded Sectional, 72in platform

Slide, Steel Pole, 48in platform

Climber, Canyon Crossing Rope Climber, 12in rise

Climber, Vine w/Roto Steps, 72in platform

Climber, Wildwood Root, 60in platform

Climber, Silo, 48in platform

Climber, Rushmore, 48in platform

Climber, Playwood Ladder, 48in platform

Climber, Playwood Ladder, 72in platform

Climber, Rope Ladder, 48in platform

Climber, Branch Out Trunk with Shade

Climber, Deck to Deck Rope Assemble, Hammock Theme

Climber, Deck to Deck Rope Assemble, Cargo Net Theme

Climber, Deck to Deck Rope Assemble, Zig-Zag Theme

Balance, Log Hop, 12in platform

Balance, Log Hop, 16in platform

Balance, Drop Zone, 48in platform

Balance, Drop Zone, 72in platform

Balance, Playwood Arch Bridge, 6ft Length

Panel, Nature Hunt

Panel, Play Telescope

Panel, KPE-Nature Sounds

Social, Under Deck Stationary Seat

Social, Under Deck Sling Seat

Barrier, Playwood Wall

Barrier, Access Gate

Audible, Talk Tubes, Babble-On

Audible, Bells, Post Mount

Roof, Playwood Peak

Colors:  As indicated by manufacturer's designations

Arrangement:  As designed per manufacturers specifications shown on 350-1623

Capacity:  148 users.

Age Appropriateness: 5-12 Age Group

FINISHES

Powder Coat Finish:  Superdurable Polyester Powder Coat, electrostatically applied at a thickness of 2 to 5 mils (0.002 inch to 0.005 inch)

Galvanized tubing to have factory-applied clear acrylic polymer coating.

All components shall be free of excess weld and weld spalls.

After fabrication all weld joints are to thoroughly cleaned using a chipping hammer and wire brush to remove all weld slag from weld joints.

Preparation:  Components shall be cleaned with a three-stage alkaline bath and a sealer for adhesion and rust inhibitor.

Components shall be thoroughly dried before being coated with Superdurable TGIC polyester powder and cured at temperatures between 375 degrees F and 400 degrees F.

Salt Spray Resistance Test:  ASTM B 117, 4000 hrs.

Impact Resistance Test:  ASTM D 2794, min. 80 inch/lb.

UV Exposure (G154, 340):  3000 hrs, Delta E of 2, 90 percent gloss retention.

Pencil Hardness Test:  ASTM D 3363:  2H.

Crosshatch Adhesion Test:  ASTM D 3359-B:  100 percent pass.

Conical Mandrel:  ASTM D 522:  1/8 inch, no cracks.

Gloss at 60 degrees:  ASTM D 523.

Coated Parts:  Coated parts shall be coated with Eco-Armor Polyethylene, 45 to 55 mils on the wear surfaces of all coated parts and 30 mils on other surfaces.  Skid resistant, textured, impact resistant and UV stable.

Prior to coating, thoroughly clean.

Coating contains no volatile organic compounds (VOC’s), polyvinylchloride (PVC) and phthalates.

Property, Testing Method and Results:  Flexibility (conical mandrel), ASTM D 522, 1/8 inch, no cracks (greater than 32 percent).

Adhesion:  ASTM D 4541, 800 psi.

Impact Resistance:  ASTM D 2794, greater than 320 inch-lbs.

Gloss:  ASTM D 523, 12.

Taber Abrasion:  ASTM D 4060, 26 (mg loss, CS 17 wheel).

Tensile Strength:  ASTM D 638, 3482 psi.

Elongation (percent):  ASTM D 638, 13 percent.

Humidity Resistance:  ASTM D 2247, no blistering or loss of gloss after 1000 hours.

Salt Spray:  ASTM B 117, no significant change in color or gloss after 2000 hrs.

UV Exposure:  ASTM G 53, QUV 2000 hrs, no significant change in color or gloss.

EXECUTION

EXAMINATION

Examine areas and conditions for compliance with requirements for site clearing, earthwork, site surface and subgrade drainage, and other conditions affecting performance of the Work.

Do not begin installation before final grading required for placing protective surfacing is completed unless otherwise permitted by Architect.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Verify locations of playground perimeter and pathways.  Verify that playground layout and equipment locations comply with requirements for each type and component of equipment.

Verify that Use Zone perimeters do not overlap hard surfaces, whether currently installed or not.

Verify that Use Zones are free of obstructions that would extend into the protective surfacing.

INSTALLATION, GENERAL

General:  Comply with manufacturer's written installation instructions unless more stringent requirements are indicated.  Anchor playground equipment securely, positioned at locations and elevations indicated.

Maximum Equipment Height:  Coordinate installed heights of equipment and components with finished elevations of protective surfacing.  Set equipment so fall heights and elevation requirements for age group use and accessibility are within required limits.  Verify that playground equipment elevations comply with requirements for each type and component of equipment.

Post and Footing Excavation:  Excavate holes for posts and footings as indicated in firm, undisturbed or compacted subgrade soil.

Post Set with Concrete Footing:  Comply with Section 03 30 00, Cast-in-Place Concrete, for forming, and placing concrete.

Place concrete around posts and vibrate or tamp for consolidation.  Hold posts in position during placement and finishing operations until concrete is sufficiently cured.

Embedded Items:  Use setting drawings and manufacturer's written instructions to ensure correct installation of anchorages for equipment.

FIELD QUALITY CONTROL

Manufacturer's Field Service:  Engage a factory-authorized service representative to inspect components, assemblies, and equipment installations, including connections.

Audit:	Obtain the services of the third party CPSI to catalog, review and report that the finished installation is in compliance with specified requirements and with design criteria to the extent known to the Contractor; submit report of filed review. Third party CPSI to certify compliance with:

2010 Standard for Accessible Design

ASTM F1487-11

CPSC No. 325

Inspections:  For playground equipment and components at final completion and to certify compliance with ASTM F 1487 and CPSC No. 325.

Prepare inspection reports.

MAINTENANCE

Maintenance kit, project specific shall include the following:

Aerosol primer.

Aerosol color touch-up paint.

Installation tools.

Hardware.

Installation documents..

Order-specific maintenance documentation with maintenance recommendation.

MANUFACTURER

Playworld Systems

Local Representative:

Big T Recreation – gobigt.com

Taft Egan - taft@bigtrec.com

Office: 801-808-5006 Fax: 801-216-3077

949 E. Pioneer Rd. Suite A-4

Draper, UT 84020

END OF SECTION